# Harnessing Neural Networks for Elucidating X-ray Absorption Structure–Spectrum Relationships in Amorphous Carbon

Hyuna Kwon et al. (2023)
DOI: 10.1021/acs.jpcc.3c02029
Category: synthesis | Element: C | Edge: K
2 condition(s)

Please review each condition and mark Correct / Incorrect.

# Condition 1: Annealed graphene

| Category | synthesis |
| --- | --- |
| Phases & Fractions | graphite (C, sp2 carbon): 0.979, sp3 carbon (outside_references: true): 0.021 |
| Reasoning | Graphene is a 2D carbon allotrope consisting almost entirely of sp2 hybridized carbon atoms arranged in a honeycomb lattice. Annealing typically removes residual functional groups and heals structural defects, further increasing the sp2 fraction and reducing sp3 defect sites. Therefore, the sample should be overwhelmingly sp2 carbon (>95%), with only trace sp3 carbon from edges or residual defects. |
| Correct? | Yes / No — Comments: |

Stage 1 Prompt (what the LLM sees):

## Sample Information

- **Material**: Annealed graphene

- **Application/Context**: Carbon allotrope structural analysis and hybridization ratio determination

## Synthesis / Preparation

- **Method**: not reported

- **Precursors**: not reported

- **Temperature**: not reported

- **Duration**: not reported

- **Heating rate**: not reported

- **Atmosphere**: not reported

- **Cooling**: not reported

- **Post-treatment**: annealed

## Sample-Specific Conditions

- Material type: graphene

- The sample was annealed to remove defects and functional groups.

## Measurement

We plan to measure the C K XANES spectrum of this sample.

## Questions

Based on ALL the synthesis and preparation information above:

1. What phases (oxidation states / compounds of C) could possibly exist in this sample?

2. How many of these phases are significant (>5% fraction)?

3. For each significant phase, estimate its fraction (fractions should sum to 1.0).

4. What reference spectra should be prepared for linear combination fitting?

5. What scientific reasoning connects the specific preparation conditions to your predicted phases and fractions?

# Condition 2: Nanodiamond powders

| Category | synthesis |
| --- | --- |
| Phases & Fractions | sp3 carbon: 0.533, graphite: 0.246, sp carbon: 0.221 |
| Reasoning | While bulk diamond is almost exclusively composed of sp3 hybridized carbon, nanodiamond powders possess a very high surface area-to-volume ratio. To minimize surface energy, the surface of nanodiamonds undergoes significant reconstruction, leading to the formation of a graphitic/amorphous sp2 carbon shell and various sp carbon defects or edge terminations. Consequently, the global hybridization ratio measured by XANES reflects a mixed state with a dominant sp3 core (~53%) accompanied by substantial sp2 (~25%) and sp (~22%) fractions. |
| Correct? | Yes / No — Comments: |

Stage 1 Prompt (what the LLM sees):

## Sample Information

- **Material**: Nanodiamond powders

- **Application/Context**: Carbon allotrope characterization and hybridization ratio analysis

## Synthesis / Preparation

- **Method**: not reported (synthesis details in cited reference 10.1021/ja063303n)

- **Precursors**: not reported

- **Temperature**: not reported

- **Duration**: not reported

- **Heating rate**: not reported

- **Atmosphere**: not reported

- **Cooling**: not reported

- **Post-treatment**: not reported

## Sample-Specific Conditions

- Material type: diamond

- The sample consists of nanodiamond powders.

## Measurement

We plan to measure the C K XANES spectrum of this sample.

## Questions

Based on ALL the synthesis and preparation information above:

1. What phases (oxidation states / compounds of C) could possibly exist in this sample?

2. How many of these phases are significant (>5% fraction)?

3. For each significant phase, estimate its fraction (fractions should sum to 1.0).

4. What reference spectra should be prepared for linear combination fitting?

5. What scientific reasoning connects the specific preparation conditions to your predicted phases and fractions?

Overall comments on this paper: ________________________________________